## LHC STD
| DOROS front-end inventory |  | M. Gasior, SY-BI-IQ |  |  |  | front-ends | 25 |  | all 4-ch. | 50
|  |  | v. 1/03/22 |  |  |  | 8-channel FE | 23 |  | not used 4-ch. | 2
[7 empty] | 4-channel FE | 2
system S
[5 empty] | [ b/r] | [dec] | [hex]
point | BPMs | front-end | ID | rack | chassis | HW config | HW config | active ch. | HW ver. | built | remarks | comments
P1 L | Q1 | CFB-UJ14-BIDRS1 | 0x81FF | BY01.UJ14 | b | 8 | 00001000 | 8 | 1 | 2018
P1 L | Q1 redun. | CFB-UJ14-BIDRS1B | 0x818F | BY01.UJ14 | b | 25 | 00011001 | 8 | 2 | 2022 |  | redundant, new LS2
P1 R | Q1 | CFB-UJ16-BIDRS1 | 0x8101 | BY01.UJ16 | b | 4 | 00000100 | 8 | 1 | 2017
P1 R | Q1 redun. | CFB-UJ16-BIDRS1B | 0x8181 | BY01.UJ16 | b | 25 | 00011001 | 8 | 2 | 2022 |  | redundant, new LS2
P1 L | Q2 | CFB-UJ14-BIDRS2 | 0x81FE | BY01.UJ14 | b | 21 | 00010101 | 8 | 2 | 2021 | 45° BPMs | LF beam spectra studies
P1 R | Q2 | CFB-UJ16-BIDRS2 | 0x8102 | BY01.UJ16 | b | 21 | 00010101 | 8 | 2 | 2021 | 45° BPMs | LF beam spectra studies
P1 L | Q7 | CFB-RR13-BIDRS1 | 0x81F9 | BY01.RR13 | b | 4 | 00000100 | 8 | 1 | 2017
P1 R | Q7 | CFB-RR17-BIDRS1 | 0x8107 | BY01.RR17 | b | 4 | 00000100 | 8 | 1 | 2017
P1 L | AFP B2 | CFB-RR13-BIDRS2 | 0x819F | BY03.RR13 | b | 136 | 10001000 | 4 | 1 | 2018 | 4 channels
P1 R | AFP B1 | CFB-RR17-BIDRS2 | 0x8161 | BY01.RR17 | b | 128 | 10000000 | 4 | 1 | 2016 | 4 channels
P2 L | Q1 | CFB-UA23-BIDRS1 | 0x82FF | BY02.UA23 | b | 4 | 00000100 | 8 | 1 | 2017
P2 R | Q1 | CFB-UA27-BIDRS1 | 0x8201 | BY01.UA27 | b | 4 | 00000100 | 8 | 1 | 2017
P2 R | Q6 | CFB-UA27-BIDRS2 | 0x8206 | BY03.UA27 | b | 21 | 00010101 | 8 | 2 | 2021 |  | quadruploar R&D
2016
P4 R | Q5 | CFB-UA47-BIDRS2 | 0x8405 | BY05.UA47 | b | 22 | 00010110 | 8 | 1 | 2021 | dI/dt A | dI/dt with hard-wired settings for the analog boards
P4 R | Q6 | CFB-UA47-BIDRS3 | 0x8406 | BY05.UA47 | b | 22 | 00010110 | 8 | 1 | 2021 | dI/dt B | dI/dt with hard-wired settings for the analog boards
P4 R | Q6, OD gated BBQ | CFB-UA47-BIDRS1 | 0x8401 | tunnel, RR47 | r | 10 | 00001010 | 8 | 1 | 2018 |  | "On demand gated" BBQ pick-ups , FE in the tunel
P4 L | Q6 | CFB-UA43-BIDRS1 | 0x84FA | BY08.UA43 | b | 21 | 00010101 | 8 | 2 | 2021 |  | quadruploar R&D
P5 L | Q1 | CFB-USC55-BIDRS1 | 0x85FF | BY01.USC55 | b | 4 | 00000100 | 8 | 1 | 2017
P5 R | Q1 | CFB-UJ56-BIDRS1 | 0x8501 | BY01.UJ56 | b | 4 | 00000100 | 8 | 1 | 2017
P6 L | Q5 | CFB-UA63-BIDRS1 | 0x86FB | BY02.UA63 | b | 21 | 00010101 | 8 | 2 | 2021 |  | quadruploar R&D
P6 R | Q5 | CFB-UA67-BIDRS1 | 0x8605 | BY02.UA67 | b | 21 | 00010101 | 8 | 2 | 2021 |  | quadruploar R&D
P8 L | Q1 | CFB-UA83-BIDRS1 | 0x88FF | BY02.UA83 | b | 4 | 00000100 | 8 | 1 | 2017
P8 R | Q1 | CFB-UA87-BIDRS1 | 0x8801 | BY01.UA87 | b | 4 | 00000100 | 8 | 1 | 2017
P8 L | Q6 | CFB-UA83-BIDRS2 | 0x88FA | BY05.UA83 | b | 21 | 00010101 | 8 | 2 | 2021 |  | quadruploar R&D
P8 R | Q6 | CFB-UA87-BIDRS2 | 0x8806 | BY06.UA87 | b | 21 | 00010101 | 8 | 2 | 2021 |  | quadruploar R&D

## LHC COL
| DOROS front-end inventory |  | M. Gasior, SY-BI-IQ |  |  |  |  | all front-ends | 35 |  | all planes | 140
|  |  | v. 1/03/22 |  |  |  |  | 8-ch. FEs | 24 |  | not used planes | 17
[8 empty] | 6-ch. FEs | 5
| system C |  | redundant channels in magenta |  |  |  |  | 4-ch. FEs | 6
not used channels in orange
| U + D | U + D
[6 empty] | [ b/r] | [dec] | [hex]
point | BPMs 1 + 2 | BPMs 3 + 4 | front-end | ID | rack | chassis | HW config | HW config | active ch. | HW ver. | built | remarks | comments
P1 L | TCTPH.4L1.B1 | TCTPV.4L1.B1 | CFB-US152-BIDRC1A | 0x11FF | BY01.US152 | r | 8 | 00001000 | 8 | 1 | 2018 | SIS A
P1 L | as above | as above | CFB-US152-BIDRC1B | 0x118F | BY01.US152 | r | 8 | 00001000 | 8 | 1 | 2018 | SIS B
P1 R | TCTPH.4R1.B2 | TCTPV.4R1.B2 | CFB-US152-BIDRC2A | 0x1101 | BY01.US152 | r | 8 | 00001000 | 8 | 1 | 2018 | SIS A
P1 R | as above | as above | CFB-US152-BIDRC2B | 0x1181 | BY01.US152 | r | 8 | 00001000 | 8 | 1 | 2018 | SIS B
P2 L | TCTPH.4L2.B1 | TCTPV.4L2.B1 | CFB-UA23-BIDRC1 | 0x12FF | BY02.UA23 | r | 6 | 00000110 | 8 | 1 | 2017
P2 L | TCLD.A11L2.B2 H | not used | CFB-UA23-BIDRC2 | 0x12FE | BY02.UA23 | b | 132 | 10000100 | 4 | 1 | 2017 |  | new LS2
P2 R | TCTPH.4R2.B2 | TCTPV.4R2.B2 | CFB-UA27-BIDRC1 | 0x1201 | BY04.UA27 | r | 6 | 00000110 | 8 | 1 | 2017
P2 R | TCLD.A11R2.B1 H | not used | CFB-UA27-BIDRC2 | 0x1202 | BY04.UA27 | b | 136 | 10001000 | 4 | 1 | 2018 |  | new LS2
P5 L | TCTPH.4L5.B1 | TCTPV.4L5.B1 | CFB-USC55-BIDRC1A | 0x15FF | BY04.USC55 | b | 8 | 00001000 | 8 | 1 | 2018 | SIS A
P5 L | as above | as above | CFB-USC55-BIDRC1B | 0x158F | BY04.USC55 | r | 8 | 00001000 | 8 | 1 | 2018 | SIS B
P5 R | TCTPH.4R5.B2 | TCTPV.4R5.B2 | CFB-USC55-BIDRC2A | 0x1501 | BY04.USC55 | b | 8 | 00001000 | 8 | 1 | 2018 | SIS A
P5 R | as above | as above | CFB-USC55-BIDRC2B | 0x1581 | BY04.USC55 | r | 8 | 00001000 | 8 | 1 | 2018 | SIS B
P6 L | TCSP.A4L6.B2 | not used | CFB-UA63-BIDRC1A | 0x16FF | BY02.UA63 | b | 132 | 10000100 | 4 | 1 | 2017 | SIS A
P6 L | as above | not used | CFB-UA63-BIDRC1B | 0x168F | BY02.UA63 | r | 136 | 10001000 | 4 | 1 | 2018 | SIS B
P6 R | TCSP.A4R6.B1 | not used | CFB-UA67-BIDRC1A | 0x1601 | BY02.UA67 | b | 136 | 10001000 | 4 | 1 | 2018 | SIS A
P6 R | as above | not used | CFB-UA67-BIDRC1B | 0x1681 | BY02.UA67 | r | 136 | 10001000 | 4 | 1 | 2018 | SIS B
P8 L | TCTPH.4L8.B1 | TCTPV.4L8.B1 | CFB-UA83-BIDRC1 | 0x18FF | BY02.UA83 | r | 6 | 00000110 | 8 | 1 | 2017
P8 R | TCTPH.4R8.B2 | TCTPH.4R8.B2 | CFB-UA87-BIDRC1 | 0x1801 | BY03.UA87 | r | 6 | 00000110 | 8 | 1 | 2017
tank BPMs in green
P7.1 | TCP.D6L7.B1 V | TCSM.6L7.B2 H | CFB-TZ76-BIDRC31A | 0x1731 | BY03.TZ76 | b | 21 | 00010101 | 8 | 2 | 2021 |  | new LS2
| as above | as above | CFB-TZ76-BIDRC31B | 0x1732 | BY03.TZ76 | b | 20 | 00010100 | 8 | 1 | 2021 |  | new LS2
| TCP.C6L7.B1 H | C6L7.B1 + D6L7.B1 | CFB-TZ76-BIDRC32A | 0x1733 | BY03.TZ76 | b | 21 | 00010101 | 8 | 2 | 2021 |  | new LS2
| as above | 6L7.B2 + not used | CFB-TZ76-BIDRC32A | 0x1734 | BY03.TZ76 | b | 72 | 01001000 | 6 | 1 | 2018 |  | new LS2
P7.2 | TCSG.D4R7.B2 V | TCSM.E5L7.B2 J | CFB-TZ76-BIDRC41A | 0x1741 | BY04.TZ76 | b | 21 | 00010101 | 8 | 2 | 2021 |  | new LS2
| as above | as above | CFB-TZ76-BIDRC41B | 0x1742 | BY04.TZ76 | b | 20 | 00010100 | 8 | 1 | 2021 |  | new LS2
| D4R7.B2 + E5L7.B2 | B4R7.B2 + not used | CFB-TZ76-BIDRC43 | 0x1743 | BY04.TZ76 | b | 65 | 01000001 | 6 | 2 | 2016 |  | new LS2
| TCSM.E5R7.B1 J | TCSM.D4L7.B1 J | CFB-TZ76-BIDRC43A | 0x1744 | BY04.TZ76 | b | 21 | 00010101 | 8 | 2 | 2021 |  | new LS2
| as above | as above | CFB-TZ76-BIDRC43B | 0x1745 | BY04.TZ76 | b | 20 | 00010100 | 8 | 1 | 2021 |  | new LS2
| E5R7.B1 + D4L7.B1 | B4L7.B1 + not used | CFB-TZ76-BIDRC44 | 0x1746 | BY04.TZ76 | b | 85 | 01010101 | 6 | 2 | 2021 |  | new LS2
| TCSM.B4L7.B1 H | TCSM.B4R7.B2 H | CFB-TZ76-BIDRC45A | 0x1747 | BY04.TZ76 | b | 21 | 00010101 | 8 | 2 | 2021 |  | new LS2
| as above | as above | CFB-TZ76-BIDRC45B | 0x1748 | BY04.TZ76 | b | 8 | 00001000 | 8 | 1 | 2018 |  | new LS2
P7.3 | TCSM.6R7.B1 H | 6R7.B1 + not used | CFB-TZ76-BIDRC51A | 0x1751 | BY05.TZ76 | b | 85 | 01010101 | 6 | 2 | 2021 |  | new LS2
| as above | D6R7.B2 + C6R7.B2 | CFB-TZ76-BIDRC51B | 0x1752 | BY05.TZ76 | b | 8 | 00001000 | 8 | 1 | 2018 |  | new LS2
| TCP.D6R7.B2 V | TCSM.C6R7.B2 H | CFB-TZ76-BIDRC52A | 0x1753 | BY05.TZ76 | b | 21 | 00010101 | 8 | 2 | 2021 |  | new LS2
| as above | as above | CFB-TZ76-BIDRC52B | 0x1754 | BY04.TZ76 | b | 8 | 00001000 | 8 | 1 | 2018 |  | new LS2
| TCSM.A4R7.B2 V | A4R7 + not used | CFB-TZ76-BIDRC53 | 0x1755 | BY05.TZ76 | b | 89 | 01011001 | 6 | 2 | 2022 |  | proto moved from RR77, new FE